## Cost Analysis
Compare the costs of running a Desert Air Cube Heater (5.0M BTUs) versus other heaters
How do the hard costs compare? Fill in your own basic assumptions in the yellow cells to see estimates.
General assumptions
Months of heater operation in a year |  | 5
Diesel fuel price per litre |  | 2
Mechanic hourly rate |  | 100
Cost of Living Adjustment (Inflation rate) |  | 2%
Annual Costs |  | Base | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Total
Operations
Monthly cost to maintain 24 hour average outlet temperature of 138°C (280°F) in -18°C (0°F) average weather
Desert Air 50M | Fuel use - 2000L per day | 120000 | 600000 | 612000 | 624240 | 636724.8 | 649459.296 | 662448.4819 | 675697.4516 | 689211.4006 | 702995.6286 | 717055.5412 | 6569832.5998
| Generator rental - 80 amps min. | 3400 | 17000 | 17340 | 17686.8 | 18040.536 | 18401.3467 | 18769.3737 | 19144.7611 | 19527.6564 | 19918.2095 | 20316.5737 | 186145.257
Comparable heaters | Fuel use - 2180 L per day | 130800 | 654000 | 667080 | 680421.6 | 694030.032 | 707910.6326 | 722068.8453 | 736510.2222 | 751240.4266 | 766265.2352 | 781590.5399 | 7161117.5338
| Generator rental - 200 amps min. | 4900 | 24500 | 24990 | 25489.8 | 25999.596 | 26519.5879 | 27049.9797 | 27590.9793 | 28142.7989 | 28705.6548 | 29279.7679 | 268268.1645
Shipping/Moves
Cost to move heater to different locations on a site, once per month in operating season
Desert Air 50M | use an on-site loader | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Comparable heaters | Crane rental per move | 1000 | 5000 | 5100 | 5202 | 5306.04 | 5412.1608 | 5520.404 | 5630.8121 | 5743.4283 | 5858.2969 | 5975.4628 | 54748.605
(loader not recommended)
Monthly Maintenance
Fuel filter changes
Desert Air 50M | 10 minutes at mechanic hourly rate | 16.6667 | 83.3333 | 85 | 86.7 | 88.434 | 90.2027 | 92.0067 | 93.8469 | 95.7238 | 97.6383 | 99.591 | 912.4767
Comparable heaters | 30 minutes at mechanic hourly rate | 50 | 250 | 255 | 260.1 | 265.302 | 270.608 | 276.0202 | 281.5406 | 287.1714 | 292.9148 | 298.7731 | 2737.4302
Annual Maintenance (Overhaul)
All heaters require an annual overhaul prior to the heating season to ensure continuous and reliable operation
Desert Air 50M | 2-3 hours at mechanic hourly rate | 250 | 250 | 255 | 260.1 | 265.302 | 270.608 | 276.0202 | 281.5406 | 287.1714 | 292.9148 | 298.7731 | 2737.4302
Comparable heaters | 20-30 hours at mechanic hourly rate | 2500 | 2500 | 2550 | 2601 | 2653.02 | 2706.0804 | 2760.202 | 2815.406 | 2871.7142 | 2929.1485 | 2987.7314 | 27374.3025
Repairs
After five years, comparable heaters require controller repairs from use and structural repairs from moves.
Desert Air 50M | repairs unlikely | 0 | Year 5: 0 | 0
Comparable heaters | controller repairs | 5000 | Year 5: 5412.1608 | 5412.1608
| structural repairs (e.g., frame straightening) | 8000 | Year 5: 8659.4573 | 8659.4573
TOTAL
Desert Air 50M | Total Annual |  | 617333.3333 | 629680 | 642273.6 | 655119.072 | 668221.4534 | 681585.8825 | 695217.6002 | 709121.9522 | 723304.3912 | 737770.479 | 6759627.7638
Comparable heaters | Total Annual |  | 686250 | 699975 | 713974.5 | 728253.99 | 756890.6879 | 757675.4512 | 772828.9602 | 788285.5394 | 804051.2502 | 820132.2752 | 7528317.6542
| Difference (Savings) |  | -68916.6667 | -70295 | -71700.9 | -73134.918 | -88669.2344 | -76089.5687 | -77611.3601 | -79163.5873 | -80746.859 | -82361.7962 | -768689.8903
|  |  | -10.04% | -10.04% | -10.04% | -10.04% | -11.71% | -10.04% | -10.04% | -10.04% | -10.04% | -10.04% | -10.21%